## Energy Savings Checklist
|  |  |  | Select SIC code |  |  |  |  | 10 | 2439
| Instructions: |  |  | Input your plant area (ft2) |  | 50000
| 1. Only fill up the black cells. Do not modify or change any of the formulas |  |  | Input the number of employees |  | 123
2. Select your industry classification (SIC code)
3. Indicate your facility size in terms of square footage and number of employees.
4. Rate every opportunity using the following scale: 5 (No corrective action required), 4 (Evaluation for potential improvement required), 3 (Corrective action required), 2 (Urgent corrective action required), 1 (Inmediate corrective action required). and 0 (Emergency situation)
Process | Factor | ARC code | Item description | Level of compliance | Cost of no compliance (based on ft2) | Cost of no compliance (based on employees) | Average payback (years) | Number of implementations
Value chain or Process | Furnaces, ovens, and directly fired operations | 2.1133 | ADJUST BURNERS FOR EFFICIENT OPERATION | 4 | 0 | 0 | 0 | 0
|  | 2.1135 | REPAIR FURNACES AND OVEN DOORS SO THAT THEY SEAL EFFICIENTLY | 1 | 0 | 0 | 0 | 0
| Boilers | 2.1231 | ESTABLISH BURNER MAINTENANCE SCHEDULE FOR BOILERS | 4 | 26.198 | 161.118 | 0 | 1
|  | 2.1232 | KEEP BOILER TUBES CLEAN | 4 | 0 | 0 | 0 | 0
|  | 2.1233 | ANALYZE FLUE GAS FOR PROPER AIR/FUEL RATIO | 4 | 0 | 0 | 0 | 0
| Steam | 2.2113 | REPAIR OR REPLACE STEAM TRAPS | 3 | 0 | 0 | 0 | 0
|  | 2.2122 | INSTALL / REPAIR INSULATION ON CONDENSATE LINES | 4 | 0 | 0 | 0 | 0
|  | 2.2123 | INSULATE FEEDWATER TANK | 4 | 0 | 0 | 0 | 0
|  | 2.2131 | INSULATE STEAM / HOT WATER LINES | 2 | 0 | 0 | 0 | 0
|  | 2.2133 | REPAIR LEAKS IN LINES AND VALVES | 5 | 0 | 0
|  | 2.2135 | REPAIR AND ELIMINATE STEAM LEAKS | 1 | 30033.348 | 183173.3571 | 0.08 | 1
|  | 2.2153 | CLOSE OFF UNNEEDED STEAM LINES | 4 | 0 | 0 | 0 | 0
| Heat containment | 2.2523 | REDUCE INFILTRATION TO REFRIGERATED AREAS; ISOLATE HOT EQUIPMENT FROM REFRIGERATED AREAS | 4 | 0 | 0 | 0 | 0
| Motors | 2.4111 | UTILIZE ENERGY-EFFICIENT BELTS AND OTHER IMPROVED MECHANISMS | 2 | 1068.1172 | 1674.2958 | 1.388 | 10
|  | 2.4133 | USE MOST EFFICIENT TYPE OF ELECTRIC MOTORS | 3 | 1759.4116 | 1841.3937 | 2.4584 | 6
|  | 2.4151 | DEVELOP A REPAIR/REPLACE POLICY | 4 | 0 | 0 | 0 | 0
|  | 2.4157 | ESTABLISH A PREDICTIVE MAINTENANCE PROGRAM | 1 | 0 | 0 | 0 | 0
| Air compressors | 2.4227 | USE COMPRESSOR AIR FILTERS | 4 | 0 | 0 | 0 | 0
|  | 2.4235 | REMOVE OR CLOSE OFF UNNEEDED COMPRESSED AIR LINES | 4 | 0 | 0 | 0 | 0
|  | 2.4236 | ELIMINATE LEAKS IN INERT GAS AND COMPRESSED AIR LINES/ VALVES | 4 | 360.4149 | 804.3918 | 0.52964 | 14
| Maintenance | 2.6121 | REDUCE HOT WATER TEMPERATURE TO THE MINIMUM REQUIRED | 3 | 0 | 0 | 0 | 0
|  | 2.6124 | ESTABLISH EQUIPMENT MAINTENANCE SCHEDULE | 4 | 0 | 0 | 0 | 0
| Equipment control | 2.6212 | TURN OFF EQUIPMENT DURING BREAKS, REDUCE OPERATING TIME | 2 | 0 | 0 | 0 | 0
|  | 2.6214 | SHUT OFF PILOTS IN STANDBY EQUIPMENT | 2 | 0 | 0 | 0 | 0
|  | 2.6218 | TURN OFF EQUIPMENT WHEN NOT IN USE | 4 | 1260.6667 | 310.124 | 1.1756 | 1
|  | 2.6221 | USE MOST EFFICIENT EQUIPMENT AT IT'S MAXIMUM CAPACITY AND LESS EFFICIENT EQUIPMENT ONLY WHEN NECESSARY | 3 | 0 | 0 | 0 | 0
|  | 2.6222 | USE DRYING OVEN (BATCH TYPE) ON ALTERNATE DAYS OR OTHER OPTIMUM SCHEDULE TO RUN EQUIPMENT WITH FULL LOADS | 1 | 0 | 0 | 0 | 0
|  | 2.6232 | INSTALL SET-BACK TIMERS | 2 | 0 | 0 | 0 | 0
| Lighting | 2.7112 | REDUCE EXTERIOR ILLUMINATION TO MINIMUM SAFE LEVEL | 4 | 0 | 0 | 0 | 0
|  | 2.7122 | DISCONNECT BALLASTS | 4 | 0 | 0 | 0 | 0
|  | 2.7124 | MAKE A PRACTICE OF TURNING OFF LIGHTS WHEN NOT NEEDED | 2 | 112.5 | 65.1176 | 0 | 1
|  | 2.7142 | UTILIZE HIGHER EFFICIENCY LAMPS AND/OR BALLASTS | 4 | 195.8688 | 590.2635 | 1.5428 | 13
|  | 2.7143 | USE MORE EFFICIENT LIGHT SOURCE | 4 | 332.7895 | 378.0054 | 4.8826 | 2
| Space conditioning | 2.7221 | LOWER TEMPERATURE DURING THE WINTER SEASON AND VICE-VERSA | 4 | 0 | 0 | 0 | 0
|  | 2.7261 | INSTALL TIMERS AND/OR THERMOSTATS | 4 | 83.6364 | 178.2537 | 1.7877 | 2
| Ventilation | 2.7316 | CENTRALIZE CONTROL OF EXHAUST FANS TO ENSURE THEIR SHUTDOWN, OR ESTABLISH PROGRAM TO ENSURE MANUAL SHUTDOWN | 2 | 0 | 0 | 0 | 0
| Building envelope | 2.7441 | REPLACE BROKEN WINDOWS AND/OR WINDOW SASH | 2 | 0 | 0 | 0 | 0
|  | 2.7442 | KEEP DOORS AND WINDOWS SHUT WHEN NOT ON USE | 3 | 0 | 0 | 0 | 0
|  | 2.7443 | INSTALL AIR SEALS AROUND TRUCK LOADING DOCK DOORS | 3 | 0 | 0 | 0 | 0
|  | 2.7444 | CLOSE HOLES AND OPENINGS IN BUILDING SUCH AS BROKEN WINDOWS | 3 | 0 | 0 | 0 | 0
| Administrative | 2.8111 | CHECK FOR ACCURACY OF UTILITY METERS | 3 | 0 | 0 | 0 | 0
|  | 2.8121 | APPLY FOR TAX-FREE STATUS FOR ENERGY PURCHASES | 4 | 0 | 0 | 0 | 0
|  | 2.8123 | PAY UTILITY BILLS ON TIME | 4 | 0 | 0 | 0 | 0
| Procedures | 3.1192 | REDUCE SCRAP PRODUCTION | 4 | 0 | 0 | 0 | 0
| Water use | 3.4154 | ELIMINATE LEAKS IN WATER LINES AND VALVES | 4 | 0 | 0 | 0 | 0
| Training | 4.432 | CROSS-TRAIN PERSONNEL TO AVOID LOST TIME | 3 | 0 | 0 | 0 | 0
| Reduction of down time | 4.611 | BEGIN A PRACTICE OF PREDICTIVE / PREVENTATIVE MAINTENANCE | 2 | 4670.3972 | 15651.5304 | 0.07 | 2
| Quick change | 4.625 | DEVELOP STANDARD OPERATING PROCEDURES | 1 | 0 | 0 | 0 | 0
| Total Quality Management | 4.711 | INITIATE A TOTAL QUALITY MANAGEMENT PROGRAM | 2 | 0 | 0 | 0 | 0
| Other administrative issues | 4.821 | PAY BILLS ON TIME TO AVOID LATE FEES | 3 | 176.6667 | 260.76 | 0 | 1
|  |  | Total points | 156
|  |  | Rating | 62.4%
|  |  | Cost of no compliance (based on ft2) | 35232.9511
|  |  | Cost of no compliance (based on employees) | 189176.3207

## TOP 50 ENERGY PRACTICES
TOP 50, BASED ON IMPLEMENTATION RATES (MORE THAN 50 RECOMMENDATIONS)
# | TYPE | ARC | Description | Times recommended | Average savings | Average cost | Average payback | Implem. Rate | # implemented
1 | M | 2.1133 | ADJUST BURNERS FOR EFFICIENT OPERATION | 196 | 28135 | 15604 | 0.7 | 0.6851 | 134.2796
2 | E | 2.1135 | REPAIR FURNACES AND OVEN DOORS SO THAT THEY SEAL EFFICIENTLY | 79 | 22916 | 14510 | 0.5 | 0.6714 | 53.0406
3 | M | 2.1231 | ESTABLISH BURNER MAINTENANCE SCHEDULE FOR BOILERS | 86 | 55991 | 12134 | 0.4 | 0.7195 | 61.877
4 | E | 2.1232 | KEEP BOILER TUBES CLEAN | 106 | 17429 | 10117 | 0.8 | 0.6832 | 72.4192
5 | E | 2.1233 | ANALYZE FLUE GAS FOR PROPER AIR/FUEL RATIO | 2238 | 8886 | 2843 | 0.6 | 0.687 | 1537.506
6 | E | 2.2113 | REPAIR OR REPLACE STEAM TRAPS | 294 | 38042 | 7295 | 0.4 | 0.7656 | 225.0864
7 | E | 2.2122 | INSTALL / REPAIR INSULATION ON CONDENSATE LINES | 301 | 2843 | 1788 | 1.1 | 0.5719 | 172.1419
8 | E | 2.2123 | INSULATE FEEDWATER TANK | 88 | 2866 | 2175 | 1.2 | 0.6279 | 55.2552
9 | E | 2.2131 | INSULATE STEAM / HOT WATER LINES | 1253 | 5499 | 3166 | 2.4 | 0.6152 | 770.8456
10 | E | 2.2133 | REPAIR LEAKS IN LINES AND VALVES | 423 | 11640 | 1933 | 0.3 | 0.8186 | 346.2678
11 | E | 2.2135 | REPAIR AND ELIMINATE STEAM LEAKS | 298 | 101720 | 8587 | 0.4 | 0.8214 | 244.7772
12 | E | 2.2153 | CLOSE OFF UNNEEDED STEAM LINES | 50 | 68725 | 102603 | 0.4 | 0.5745 | 28.725
13 | B | 2.2523 | REDUCE INFILTRATION TO REFRIGERATED AREAS; ISOLATE HOT EQUIPMENT FROM REFRIGERATED AREAS | 90 | 5958 | 3500 | 0.9 | 0.5814 | 52.326
14 | E | 2.4111 | UTILIZE ENERGY-EFFICIENT BELTS AND OTHER IMPROVED MECHANISMS | 3943 | 3141 | 2322 | 0.8 | 0.5574 | 2197.8282
15 | E | 2.4133 | USE MOST EFFICIENT TYPE OF ELECTRIC MOTORS | 5054 | 4760 | 11110 | 4.1 | 0.6437 | 3253.2598
16 | M | 2.4151 | DEVELOP A REPAIR/REPLACE POLICY | 316 | 6069 | 4970 | 1.3 | 0.7297 | 230.5852
17 | M | 2.4157 | ESTABLISH A PREDICTIVE MAINTENANCE PROGRAM | 107 | 8453 | 1566 | 0.5 | 0.9588 | 102.5916
18 | E | 2.4227 | USE COMPRESSOR AIR FILTERS | 56 | 3985 | 1767 | 0.4 | 0.6923 | 38.7688
19 | E | 2.4235 | REMOVE OR CLOSE OFF UNNEEDED COMPRESSED AIR LINES | 131 | 6576 | 2207 | 0.8 | 0.5932 | 77.7092
20 | E | 2.4236 | ELIMINATE LEAKS IN INERT GAS AND COMPRESSED AIR LINES/ VALVES | 7147 | 5956 | 1439 | 0.4 | 0.816 | 5831.952
21 | M | 2.6121 | REDUCE HOT WATER TEMPERATURE TO THE MINIMUM REQUIRED | 317 | 1821 | 893 | 0.3 | 0.6814 | 216.0038
22 | M | 2.6124 | ESTABLISH EQUIPMENT MAINTENANCE SCHEDULE | 74 | 11628 | 2731 | 0.4 | 0.6622 | 49.0028
23 | M | 2.6212 | TURN OFF EQUIPMENT DURING BREAKS, REDUCE OPERATING TIME | 896 | 6250 | 1394 | 0.4 | 0.5676 | 508.5696
24 | M | 2.6214 | SHUT OFF PILOTS IN STANDBY EQUIPMENT | 127 | 1092 | 199 | 0.2 | 0.6585 | 83.6295
25 | M | 2.6218 | TURN OFF EQUIPMENT WHEN NOT IN USE | 1449 | 7816 | 3036 | 0.5 | 0.5967 | 864.6183
26 | M | 2.6221 | USE MOST EFFICIENT EQUIPMENT AT IT'S MAXIMUM CAPACITY AND LESS EFFICIENT EQUIPMENT ONLY WHEN NECESSARY | 264 | 10829 | 6528 | 0.6 | 0.6641 | 175.3224
27 | M | 2.6222 | USE DRYING OVEN (BATCH TYPE) ON ALTERNATE DAYS OR OTHER OPTIMUM SCHEDULE TO RUN EQUIPMENT WITH FULL LOADS | 59 | 23795 | 6737 | 0.4 | 0.5763 | 34.0017
28 | B | 2.6232 | INSTALL SET-BACK TIMERS | 930 | 2873 | 1341 | 0.7 | 0.5385 | 500.805
29 | B | 2.7112 | REDUCE EXTERIOR ILLUMINATION TO MINIMUM SAFE LEVEL | 143 | 2273 | 1098 | 0.4 | 0.6479 | 92.6497
30 | B | 2.7122 | DISCONNECT BALLASTS | 297 | 2916 | 992 | 0.8 | 0.5579 | 165.6963
31 | M | 2.7124 | MAKE A PRACTICE OF TURNING OFF LIGHTS WHEN NOT NEEDED | 923 | 3701 | 551 | 0.2 | 0.6705 | 618.8715
32 | B | 2.7142 | UTILIZE HIGHER EFFICIENCY LAMPS AND/OR BALLASTS | 11128 | 5948 | 11920 | 2.9 | 0.5626 | 6260.6128
33 | B | 2.7143 | USE MORE EFFICIENT LIGHT SOURCE | 3286 | 6474 | 16233 | 1.9 | 0.5321 | 1748.4806
34 | B | 2.7221 | LOWER TEMPERATURE DURING THE WINTER SEASON AND VICE-VERSA | 583 | 9811 | 1932 | 5.5 | 0.6194 | 361.1102
35 | B | 2.7261 | INSTALL TIMERS AND/OR THERMOSTATS | 1886 | 4700 | 1582 | 0.7 | 0.5515 | 1040.129
36 | E | 2.7316 | CENTRALIZE CONTROL OF EXHAUST FANS TO ENSURE THEIR SHUTDOWN, OR ESTABLISH PROGRAM TO ENSURE MANUAL SHUTDOWN | 60 | 3815 | 1930 | 0.5 | 0.5833 | 34.998
37 | B | 2.7441 | REPLACE BROKEN WINDOWS AND/OR WINDOW SASH | 79 | 4820 | 10756 | 0.8 | 0.5769 | 45.5751
38 | M | 2.7442 | KEEP DOORS AND WINDOWS SHUT WHEN NOT ON USE | 122 | 5234 | 4060 | 0.7 | 0.6609 | 80.6298
39 | B | 2.7443 | INSTALL AIR SEALS AROUND TRUCK LOADING DOCK DOORS | 439 | 2829 | 2968 | 1.4 | 0.5294 | 232.4066
40 | B | 2.7444 | CLOSE HOLES AND OPENINGS IN BUILDING SUCH AS BROKEN WINDOWS | 208 | 3001 | 2179 | 0.7 | 0.5808 | 120.8064
41 | E | 2.8111 | CHECK FOR ACCURACY OF UTILITY METERS | 51 | 7557 | 1186 | 0.7 | 0.6327 | 32.2677
42 | M | 2.8121 | APPLY FOR TAX-FREE STATUS FOR ENERGY PURCHASES | 600 | 8532 | 523 | 0.2 | 0.7069 | 424.14
43 | M | 2.8123 | PAY UTILITY BILLS ON TIME | 225 | 3028 | 110 | 0.4 | 0.715 | 160.875
44 | M | 3.1192 | REDUCE SCRAP PRODUCTION | 142 | 79663 | 26692 | 0.7 | 0.5441 | 77.2622
45 | E | 3.4154 | ELIMINATE LEAKS IN WATER LINES AND VALVES | 154 | 5375 | 4103 | 1.8 | 0.7603 | 117.0862
46 | M | 4.432 | CROSS-TRAIN PERSONNEL TO AVOID LOST TIME | 63 | 68677 | 19702 | 4.7 | 0.7377 | 46.4751
47 | M | 4.611 | BEGIN A PRACTICE OF PREDICTIVE / PREVENTATIVE MAINTENANCE | 356 | 45875 | 6018 | 0.4 | 0.5777 | 205.6612
48 | M | 4.625 | DEVELOP STANDARD OPERATING PROCEDURES | 71 | 180717 | 32091 | 0.3 | 0.597 | 42.387
49 | M | 4.711 | INITIATE A TOTAL QUALITY MANAGEMENT PROGRAM | 78 | 74667 | 34691 | 0.8 | 0.5676 | 44.2728
50 | M | 4.821 | PAY BILLS ON TIME TO AVOID LATE FEES | 311 | 2921 | 42 | 0 | 0.676 | 210.236

## SIC codes
Sic codes
1 | 24 | Lumber and Wood Products, Except Furniture | 24.Lumber and Wood Products, Except Furniture
2 | 2411 | Logging | 2411.Logging
3 | 2421 | Sawmills and Planning Mills. General | 2421.Sawmills and Planning Mills. General
4 | 2426 | Hardwood dimension and Flooring Mills | 2426.Hardwood dimension and Flooring Mills
5 | 2429 | Special Products Sawmills, Nec | 2429.Special Products Sawmills, Nec
6 | 2431 | Millwork | 2431.Millwork
7 | 2434 | Wood kitchen Cabinets | 2434.Wood kitchen Cabinets
8 | 2435 | Hardwood veneer and plywood | 2435.Hardwood veneer and plywood
9 | 2436 | Softwood Veneer and Plywood | 2436.Softwood Veneer and Plywood
10 | 2439 | Structural Wood Members, Nec | 2439.Structural Wood Members, Nec
11 | 2441 | Nailed Wood Boxes and Shook | 2441.Nailed Wood Boxes and Shook
12 | 2448 | Wood pallets and skids | 2448.Wood pallets and skids
13 | 2449 | Wood Containers, Nec | 2449.Wood Containers, Nec
14 | 2451 | Mobile Homes | 2451.Mobile Homes
15 | 2452 | Prefabricated Wood Buildings | 2452.Prefabricated Wood Buildings
16 | 2491 | Wood Preserving | 2491.Wood Preserving
17 | 2493 | Reconstituted wood products | 2493.Reconstituted wood products
18 | 2499 | Wood products, Nec | 2499.Wood products, Nec
19 | 25 | Furniture and Fixtures | 25.Furniture and Fixtures
20 | 2511 | Wood household furniture | 2511.Wood household furniture
21 | 2512 | Upholstered household furniture | 2512.Upholstered household furniture
22 | 2517 | Wood Television and Radio Cabinets | 2517.Wood Television and Radio Cabinets
23 | 2519 | Household furniture, Nec | 2519.Household furniture, Nec
24 | 2521 | Wood Office Furniture | 2521.Wood Office Furniture
25 | 2531 | Public Building and Related Furniture | 2531.Public Building and Related Furniture
26 | 2541 | Wood Partitions and Fixtures | 2541.Wood Partitions and Fixtures
27 | 2591 | Drapery Hardware and Blinds and Shades | 2591.Drapery Hardware and Blinds and Shades
28 | 2599 | Furniture and Fixtures | 2599.Furniture and Fixtures

## Energy data (hidden)
Column Labels
| Average of SAVINGS/FT2 | [33 empty] | Average of SAVINGS/EMPLOYEE | [34 empty] | Count of ARC2 | [34 empty] | Average of PAYBACK
Row Labels | ft24 | ft2412 | ft2420 | ft2421 | ft2425 | ft2426 | ft2428 | ft2431 | ft2434 | ft2435 | ft2436 | ft2439 | ft2441 | ft2448 | ft2449 | ft2451 | ft2452 | ft2457 | ft2463 | ft2469 | ft2479 | ft2490 | ft2491 | ft2493 | ft2499 | ft25 | ft2511 | ft2512 | ft2517 | ft2519 | ft2521 | ft2531 | ft2541 | ft2591 | ft2599 | em24 | em2412 | em2420 | em2421 | em2425 | em2426 | em2428 | em2431 | em2434 | em2435 | em2436 | em2439 | em2441 | em2448 | em2449 | em2451 | em2452 | em2457 | em2463 | em2469 | em2479 | em2490 | em2491 | em2493 | em2499 | em25 | em2511 | em2512 | em2517 | em2519 | em2521 | em2531 | em2541 | em2591 | em2599 | nm24 | nm2412 | nm2420 | nm2421 | nm2425 | nm2426 | nm2428 | nm2431 | nm2434 | nm2435 | nm2436 | nm2439 | nm2441 | nm2448 | nm2449 | nm2451 | nm2452 | nm2457 | nm2463 | nm2469 | nm2479 | nm2490 | nm2491 | nm2493 | nm2499 | nm25 | nm2511 | nm2512 | nm2517 | nm2519 | nm2521 | nm2531 | nm2541 | nm2591 | nm2599 | pb24 | pb2412 | pb2420 | pb2421 | pb2425 | pb2426 | pb2428 | pb2431 | pb2434 | pb2435 | pb2436 | pb2439 | pb2441 | pb2448 | pb2449 | pb2451 | pb2452 | pb2457 | pb2463 | pb2469 | pb2479 | pb2490 | pb2491 | pb2493 | pb2499 | pb25 | pb2511 | pb2512 | pb2517 | pb2519 | pb2521 | pb2531 | pb2541 | pb2591 | pb2599
2.1133 | 0.17785 |  |  | 0.53093 |  | 0.03607 |  |  |  | 0.036286 |  |  |  | 0.053733 | [10 empty] | 0.020733 | 0.023436 | 0.023436 | [8 empty] | 400.4854 |  |  | 1280.8238 |  | 47.0478 |  |  |  | 181.884 |  |  |  | 12.9478 | [10 empty] | 36.5882 | 31.2202 | 31.2202 | [8 empty] | 8 |  |  | 2 |  | 1 |  |  |  | 3 |  |  |  | 1 | [10 empty] | 1 | 1 | 1 | [8 empty] | 0.40626 |  |  | 0.12335 |  | 0.57527 |  |  |  | 0.030859 | [14 empty] | 1.9293 | 0.85339 | 0.85339
2.1135 | [25 empty] | 0.063199 |  |  |  |  | 0.063199 | [29 empty] | 89.6189 |  |  |  |  | 89.6189 | [29 empty] | 2 |  |  |  |  | 2 | [29 empty] | 0.041297 |  |  |  |  | 0.041297
2.1231 | 0.1252 |  |  | 0.0044995 |  |  |  | 0.35761 |  |  |  | 0.0026198 | [10 empty] | 0.063571 | 0.045251 |  | 0.0023217 | [6 empty] | 0.0023217 |  |  | 296.4378 |  |  | 60.1227 |  |  |  | 923.3376 |  | 78.25 | 164.1143 | 6.5495 | [10 empty] | 44.5 | 233.8644 |  | 5.6211 | [6 empty] | 5.6211 |  |  | 9 |  |  | 1 |  |  |  | 2 |  | 1 | 1 | 1 | [10 empty] | 1 | 2 |  | 1 | [6 empty] | 1 |  |  | 0.78565 |  |  | 0.1 |  |  |  | 0.035842 |  |  | 0.0052228 | [12 empty] | 2.2685 |  | 0 | [6 empty] | 0
2.1232 | 1.9283 |  |  | 0.39218 | [6 empty] | 0.41053 | [12 empty] | 2.6917 |  | 0.025847 | 0.036364 | [8 empty] | 870.3092 |  |  | 248.6393 | [6 empty] | 277.9525 | [12 empty] | 1728.9218 |  | 24.8259 | 40 | [8 empty] | 12 |  |  | 5 | [6 empty] | 2 | [12 empty] | 5 |  | 2 | 1 | [8 empty] | 0.58332 |  |  | 0.82864 | [6 empty] | 0.053768 | [12 empty] | 0.52749 |  | 1.1004 | 0.8194
2.1233 | 0.35168 |  |  | 0.055269 |  | 0.016492 |  | 0.081669 |  | 0.13515 | 0.013287 |  |  |  | 0.043319 | [7 empty] | 1.4432 | 1.0859 | 0.11215 | 0.012068 | 0.0071712 | 0.019539 |  |  |  | 0.025065 | 0.014243 |  |  | 179.6879 |  |  | 263.3573 |  | 105.5953 |  | 99.6209 | 13.8155 | 34.2745 | 141.1789 |  |  |  | 46.8255 | 1.29 | [6 empty] | 157.9547 | 1384.4594 | 163.2751 | 11.7485 | 16.1695 | 10.9408 |  | 15.2693 |  | 9.2151 | 16.0244 | 2.6182 | 2.9714 | 84 |  |  | 25 |  | 6 |  | 11 | 5 | 7 | 10 |  |  |  | 3 | 1 | [6 empty] | 10 | 2 | 4 | 31 | 7 | 2 |  | 2 |  | 5 | 3 | 1 | 1 | 0.6766 |  |  | 0.80735 |  | 0.64975 |  | 0.72178 | 0.50213 | 0.43506 | 0.22467 |  |  |  | 3.2344 | 2.3256 | [6 empty] | 0.13458 | 0.049038 | 0.47181 | 0.5488 | 1.3363 | 0.18455 |  | 0.1233 |  | 0.5473 | 0.34578 | 0 | 0
2.2113 | 0.80813 |  |  | 0.011 |  | 0.02351 |  |  |  | 0.048704 | [12 empty] | 3.1047 | 0.060039 | 0.0524 | 0.0061279 |  | 0.0061279 | [7 empty] | 83.561 |  |  | 12.8333 |  | 30.6652 |  |  |  | 15.6548 | [12 empty] | 218.2429 | 80.3784 | 12.0923 | 15.575 |  | 15.575 | [7 empty] | 8 |  |  | 1 |  | 1 |  |  |  | 1 | [12 empty] | 2 | 2 | 1 | 1 |  | 1 | [7 empty] | 0.56108 |  |  | 0.67797 |  | 1.01 |  |  |  | 0.10494 | [13 empty] | 0.3 | 0.71247
2.2122 | 0.0027961 |  |  | 0.00013222 |  | 0.00546 | [29 empty] | 13.046 |  |  | 26.5844 |  | 2.3377 |  |  |  |  | 2.6067 | [11 empty] | 19.7286 | 7.425 | 6.016 | 2.0542 | 2.0542 | [8 empty] | 12 |  |  | 4 |  | 3 |  |  |  |  | 1 | [11 empty] | 1 | 2 | 1 | 2 | 2 | [8 empty] | 1.1595 |  |  | 1.202 |  | 1.6941 |  |  |  |  | 1.302 | [11 empty] | 1.3259 | 0.43242 | 0.5305 | 1.5647 | 1.5647
2.2123 | 0.029176 |  |  | 0.03711 |  | 0.0043426 | [16 empty] | 0.0844 | 0.026912 |  | 0.0013152 |  | 0.00022288 | [7 empty] | 16.1568 |  |  | 21.3056 |  | 4.3016 |  | 1.975 | [14 empty] | 21.7206 | 28.73 |  | 2.1136 |  | 0.2 | [7 empty] | 14 |  |  | 6 |  | 4 |  | 1 | [14 empty] | 1 | 2 |  | 2 |  | 1 | [7 empty] | 1.0412 |  |  | 1.0532 |  | 1.1845 |  | 0.89693 | [14 empty] | 1.2376 | 0.34364 |  | 1.3333 |  | 1.3333
2.2131 | 0.033363 |  |  | 0.033023 |  | 0.014391 |  | 0.09552 | 0.046075 | 0.014545 | 0.055253 | [11 empty] | 0.055826 | 0.029435 | 0.026217 | 0.0080439 | 0.0079663 | 0.0039009 |  |  | 0.011624 | 0.0079758 |  |  |  | 37.4335 |  |  | 50.8985 |  | 16.2667 |  | 159.2 | 27.897 | 15.7598 | 55.6111 | [11 empty] | 44.0851 | 51.7384 | 8.9908 | 18.9776 | 5.7507 | 6.3056 |  | 117.0967 | 6.335 | 13.514 |  |  |  | 76 |  |  | 18 |  | 9 |  | 1 | 2 | 11 | 11 | [11 empty] | 8 | 7 | 9 | 19 | 6 | 2 |  | 2 | 1 | 3 |  |  |  | 1.147 |  |  | 1.0554 |  | 1.0081 |  | 0.14876 | 0.94088 | 1.0944 | 0.80001 | [11 empty] | 2.5273 | 1.2246 | 0.99481 | 1.7839 | 3.3255 | 2.1673 |  | 0.59568 | 0.32498 | 0.5634
2.2133 | 0.26088 |  |  | 0.016788 |  | 0.9329 |  | 0.0074612 |  |  | 0.027083 | [11 empty] | 0.2624 | 0.53623 | 0.012064 | 0.076066 | [5 empty] | 0.076066 |  |  |  | 130.5165 |  |  | 24.3965 |  | 166.4006 |  | 16.1153 |  |  | 8.4036 | [11 empty] | 98.9905 | 682.0035 | 18.0962 | 18.0317 | 11.2542 |  |  |  |  | 24.8092 |  |  |  | 18 |  |  | 5 |  | 3 |  | 2 |  |  | 2 | [11 empty] | 3 | 2 | 1 | 2 | 1 |  |  |  |  | 1 |  |  |  | 0.42775 |  |  | 0.30504 |  | 0.69268 |  | 0.015337 |  |  | 0.20987 | [11 empty] | 0.74927 | 0.026479 | 0.53135 | 0.13495 | 0.26989 |  |  |  |  | 0
2.2135 | 0.28755 |  |  | 0.49271 |  | 0.038009 |  | 0.011011 |  |  | 0.27086 | 0.75083 | [10 empty] | 0.29607 |  | 0.0021354 | 0.015739 | 0.024956 | 0.0017222 |  |  |  | 0.0021041 |  |  |  | 403.2103 |  |  | 1149.7169 |  | 80.3208 |  | 44.0444 |  | 28.875 | 176.4503 | 1861.5179 | [10 empty] | 258.5667 |  | 1.2059 | 17.6059 | 28.2056 | 1.9375 |  |  |  | 1.475 |  |  |  | 20 |  |  | 3 |  | 1 |  | 1 |  | 1 | 3 | 1 | [10 empty] | 8 |  | 2 | 5 | 3 | 1 |  |  |  | 1 |  |  |  | 1.5252 |  |  | 0.34613 |  | 0.16444 |  |  |  |  | 0.01 | 0.08 | [10 empty] | 0.10252 |  | 10.6017 | 0.77667 | 0.29929 | 0.95161 |  |  |  | 2.0339
2.2153 | 0.034404 | [21 empty] | 0.0404 |  | 0.028407 | [10 empty] | 24.7824 | [21 empty] | 47.5294 |  | 2.0353 | 13.2625 | 13.2625 | [8 empty] | 2 | [21 empty] | 1 |  | 1 | 1 | 1 | [8 empty] | 0.012376 | [21 empty] | 0.024752 |  | 0 | 0 | 0
2.4111 | 0.038573 |  |  | 0.043327 | 0.007151 | 0.043046 |  | 0.015962 | 0.0070293 | 0.020976 | 0.017941 | 0.035604 |  | 0.040445 | 0.0037812 | 0.0016927 | 0.0013101 | [5 empty] | 0.15787 | 0.050279 | 0.01685 | 0.0097845 | 0.011165 | 0.0033263 | 0.01876 |  | 0.0071943 | 0.0025179 | 0.0049119 | 0.0031147 | 0.076031 | 30.86 |  |  | 42.755 | 35.5385 | 23.9215 |  | 18.012 | 5.7538 | 20.2164 | 26.1288 | 22.6869 |  | 43.3498 | 4.5764 | 1.4746 | 1.2501 | [5 empty] | 31.6915 | 70.4314 | 15.1621 | 9.2044 | 7.2183 | 3.8898 | 15.6333 | 11.9039 | 6.2315 | 2.4801 | 5.278 | 2.382 | 61.9818 | 340 |  |  | 107 | 1 | 27 |  | 43 | 16 | 20 | 24 | 10 |  | 10 | 4 | 4 | 3 | [5 empty] | 19 | 23 | 29 | 111 | 29 | 15 | 1 | 2 | 10 | 7 | 10 | 5 | 4 | 1.0736 |  |  | 1.3224 | 0.31306 | 0.86444 |  | 0.94277 | 0.81374 | 0.4498 | 1.1258 | 1.388 |  | 0.62232 | 0.28906 | 1.3685 | 5.5259 | [5 empty] | 0.42634 | 1.0766 | 1.0494 | 1.0835 | 0.77898 | 1.8612 | 0.54959 | 0.19856 | 0.75768 | 1.128 | 0.88148 | 1.6672 | 0.89498
2.4133 | 0.057613 |  | 0.01713 | 0.073793 |  | 0.039759 |  | 0.033952 | 0.082846 | 0.20202 | 0.065977 | 0.087971 | 0.049385 | 0.027072 | 0.018127 | 0.0073047 | 0.0033502 |  | 0.033363 |  |  |  | 0.035655 | 0.049617 | 0.03627 | 0.012029 | 0.01892 | 0.0052866 |  | 0.041278 | 0.01149 | 0.014341 | 0.010188 | 0.00070666 | 0.012492 | 36.1787 | 107.2917 | 9.5167 | 50.7088 |  | 28.1142 |  | 28.5646 | 22.3228 | 28.3171 | 38.8966 | 37.4267 | 40.125 | 15.5011 | 8.0475 | 3.2901 | 1.8446 |  | 18.3946 |  |  |  | 33.0786 | 44.1987 | 39.4636 | 9.9421 | 12.7549 | 2.7347 |  | 32.5494 | 6.5398 | 9.4369 | 18.8009 | 0.39408 | 13.2704 | 337 | 1 | 1 | 103 |  | 19 |  | 49 | 17 | 22 | 26 | 6 | 1 | 8 | 2 | 11 | 7 |  | 1 |  |  |  | 16 | 14 | 33 | 116 | 29 | 8 |  | 2 | 18 | 9 | 8 | 3 | 7 | 3.3478 | 0.66912 | 0.66654 | 3.5311 |  | 3.3731 |  | 3.3197 | 1.4918 | 2.1892 | 2.6811 | 2.4584 | 0.74455 | 3.9034 | 2.3205 | 5.0299 | 2.5768 |  | 1.8807 |  |  |  | 3.9471 | 1.6796 | 5.5252 | 4.3402 | 3.4314 | 5.175 |  | 0.77687 | 10.8821 | 4.8253 | 3.3393 | 1.2085 | 2.3052
2.4151 | 0.065329 |  | 0.001025 | 0.077126 |  | 0.1379 |  | 0.02491 | 0.019003 | 0.038775 |  |  |  | 0.079829 | [8 empty] | 0.064758 | 0.0051056 |  | 0.0014417 | 0.0016072 | 0.00096361 |  |  |  |  | 0.0021733 |  |  | 60.6137 |  | 2.46 | 67.9647 |  | 145.5381 |  | 34.8995 | 8.6871 | 32.9396 |  |  |  | 79.8286 | [8 empty] | 31.1954 | 9.6217 |  | 1.8528 | 1.6074 | 1.9583 |  |  |  |  | 1.6465 |  |  | 26 |  | 1 | 6 |  | 5 |  | 4 | 1 | 2 |  |  |  | 1 | [8 empty] | 4 | 2 |  | 9 | 5 | 2 |  |  |  |  | 1 |  |  | 0.87856 |  | 1.3205 | 0.47964 |  | 0.33918 |  | 2.4166 | 0.056189 | 0.045 |  |  |  | 0.050486 | [8 empty] | 3.0474 | 0.50152 |  | 2.3626 | 2.5467 | 1.4821 |  |  |  |  | 2.6553
2.4157 | 0.065141 |  |  | 0.078247 |  | 0.020241 |  |  |  | 0.017744 |  |  |  | 0.018293 | [8 empty] | 0.2535 | 0.0084036 |  | 0.01868 | [5 empty] | 0.01868 |  |  |  | 34.3729 |  |  | 46.2027 |  | 24.0268 |  |  |  | 15.2851 |  |  |  | 37.0811 | [8 empty] | 40.2381 | 18.26 |  | 9.34 | [5 empty] | 9.34 |  |  |  | 10 |  |  | 4 |  | 2 |  |  |  | 1 |  |  |  | 1 | [8 empty] | 1 | 1 |  | 1 | [5 empty] | 1 |  |  |  | 0.19127 |  |  | 0.11807 |  | 0.39556 |  |  |  | 0.25 |  |  |  | 0.13484 | [9 empty] | 0 |  | 0.10646 | [5 empty] | 0.10646
2.4227 | 0.0773 | [22 empty] | 0.11196 | 0.0079729 | [10 empty] | 106.1987 | [22 empty] | 158.2931 | 2.01 | [10 empty] | 3 | [22 empty] | 2 | 1 | [10 empty] | 1.0593 | [22 empty] | 0.88 | 1.4179
2.4235 | 0.053257 | [7 empty] | 0.00080402 | 0.088767 | [14 empty] | 0.0702 | [10 empty] | 36.1709 | [7 empty] | 0.99379 | 70.0789 | [14 empty] | 37.44 | [10 empty] | 3 | [7 empty] | 1 | 1 | [14 empty] | 1 | [10 empty] | 1.0772 | [7 empty] | 2.44 | 0.74 | [14 empty] | 0.051638
2.4236 | 0.056689 |  | 0.0021917 | 0.095249 | 0.016361 | 0.034977 | 0.1181 | 0.029395 | 0.032722 | 0.10455 | 0.13097 | 0.036041 | 0.014923 | 0.02718 | 0.011085 | 0.03876 | 0.019208 | 0.00518 | 0.027765 |  |  |  | 0.064749 | 0.061136 | 0.027099 | 0.021619 | 0.017777 | 0.0091674 |  | 0.019414 | 0.018883 | 0.033447 | 0.0487 | 0.010754 | 0.015771 | 47.6464 |  | 5.26 | 76.7663 | 81.3077 | 27.7896 | 36.5375 | 29.9023 | 30.3842 | 48.2816 | 83.3416 | 32.6989 | 10.8594 | 25.7997 | 8.2518 | 27.3098 | 13.4492 | 3.0471 | 15.3081 |  |  |  | 44.1532 | 64.8445 | 32.0739 | 19.5074 | 14.8147 | 9.6746 |  | 23.5314 | 15.1063 | 24.7314 | 43.6452 | 6.9411 | 19.4904 | 461 |  | 1 | 128 | 1 | 26 | 1 | 81 | 30 | 20 | 25 | 14 | 3 | 11 | 4 | 29 | 19 | 1 | 1 |  |  |  | 18 | 21 | 27 | 236 | 50 | 34 |  | 5 | 13 | 25 | 25 | 6 | 11 | 0.48437 |  | 0.40984 | 0.61029 | 0.039093 | 0.31718 | 0.034211 | 0.36231 | 0.28937 | 0.75243 | 0.79255 | 0.52964 | 0.28498 | 0.22004 | 0.40508 | 0.32295 | 0.78537 | 0.32407 | 0.21186 |  |  |  | 0.38052 | 0.48475 | 0.40695 | 0.37398 | 0.42091 | 0.4037 |  | 0.42658 | 0.457 | 0.27137 | 0.43737 | 0.11165 | 0.23753
2.6121 | 0.0056529 | [6 empty] | 0.0081576 | [15 empty] | 0.0031481 |  | 0.092976 | [9 empty] | 4.8492 |  |  | 6.5556 |  |  |  | 4.713 | 3.8227 | [7 empty] | 1.6769 | [6 empty] | 3.6429 | 9.9831 | 13.0508 | 4.8583 |  |  |  |  | 1.9285 |  |  |  | 9 |  |  | 1 |  |  |  | 3 | 2 | [7 empty] | 1 | [6 empty] | 1 | 1 | 8 | 1 |  |  |  |  | 2 |  |  |  | 0.45551 |  |  | 3.6441 |  |  |  | 0 | 0 | [7 empty] | 0 | [6 empty] | 0 | 0 | 0.37906 | 0.36021 |  |  |  |  | 0
2.6124 | 0.036734 | [6 empty] | 0.036734 | [27 empty] | 112.2445 | [6 empty] | 202.0344 |  | 22.4545 | [25 empty] | 2 | [6 empty] | 1 |  | 1 | [25 empty] | 0.050607 | [6 empty] | 0 |  | 0.10121
2.6212 | 0.0437 |  |  | 0.036342 |  |  |  | 0.032281 | 0.033661 | 0.00083528 | 0.53057 |  |  | 0.014023 |  | 0.0049167 | 0.0016266 | [5 empty] | 0.015408 | 0.047223 | 0.00112 | 0.017411 | 0.025381 |  |  |  | 0.012269 | 0.0090979 | 0.015 |  | 0.00688 | 31.0454 |  |  | 40.3716 |  | 7.0213 |  | 38.5185 | 12.2183 | 5.5647 | 94.4237 |  |  | 11.5269 |  | 3.5748 | 5.8114 | [5 empty] | 18.6239 | 37.0694 | 12.3842 | 20.0956 | 20.8074 | 87.956 |  | 131.1 | 4.129 | 11.7592 | 11.9143 |  | 2.8779 | 69 |  |  | 26 |  | 1 |  | 16 | 5 | 1 | 1 |  |  | 2 |  | 2 | 2 | [5 empty] | 5 | 3 | 5 | 30 | 13 | 1 |  | 1 | 4 | 3 | 3 |  | 3 | 0.23887 |  |  | 0.10525 |  | 0 |  | 0.29184 | 0.16721 | 0.044397 | 0 |  |  | 0.93502 |  | 0 | 0.4095 | [5 empty] | 0.42516 | 0.67097 | 0.29475 | 0.57379 | 0.48501 | 0.0085577 |  | 0 | 1.3918 | 0.083472 | 1.3438 |  | 0.35034
2.6214 | 0.0015894 | [15 empty] | 0.0026422 | [5 empty] | 0.00053667 |  |  | 0.0047097 |  | 0.0049816 |  |  | 0.0021754 |  | 0.00675 | 0.0055633 |  | 3.4588 | [6 empty] | 6.3467 | 2.0485 | [7 empty] | 2.22 | [5 empty] | 3.22 |  |  | 4.8874 |  | 4.9173 |  |  | 1.3225 |  | 9 | 10.2393 | 2.3143 | 4 | [6 empty] | 1 | 1 | [7 empty] | 1 | [5 empty] | 1 |  |  | 13 |  | 8 |  |  | 2 |  | 1 | 1 | 1 | 0.063041 | [6 empty] | 0 | 0 | [7 empty] | 0.16216 | [5 empty] | 0.09 |  |  | 0.10255 |  | 0.10315 |  |  | 0.19896 |  | 0 | 0.11 | 0
2.6218 | 0.045412 |  |  | 0.020345 |  | 0.045802 |  | 0.040111 | 0.019138 | 0.132 | 0.16324 | 0.12607 | 0.0013385 | 0.049347 |  | 0.011598 | [6 empty] | 0.018798 | 0.070234 | 0.11077 | 0.042503 | 0.020322 | 0.01518 |  |  | 0.02691 | 0.084279 | 0.0070619 |  | 0.31299 | 46.3808 |  |  | 39.1032 |  | 18.0099 |  | 36.1893 | 13.6324 | 44.9842 | 175.6857 | 12.6067 | 1.0875 | 67.2853 |  | 11.8071 | [6 empty] | 17.144 | 56.1735 | 171.5444 | 37.6791 | 16.1665 | 37.8333 |  |  | 12.2517 | 40.8704 | 8.5604 |  | 301.7278 | 66 |  |  | 18 |  | 4 |  | 14 | 8 | 2 | 3 | 1 | 1 | 2 |  | 3 | [6 empty] | 1 | 6 | 3 | 40 | 9 | 3 |  |  | 2 | 6 | 6 |  | 2 | 0.42066 |  |  | 0.60002 |  | 0.14535 |  | 0.52442 | 0.11734 | 0.84177 |  | 1.1756 | 0 | 0 |  | 0.53754 | [6 empty] | 0 | 0.31306 | 0.016407 | 0.42778 | 0.74736 | 0 |  |  | 0.13006 | 0.055221 | 0.44341 |  | 1.0308
2.6221 | 0.16993 |  |  | 0.080497 |  | 0.56182 |  | 0.011648 |  |  | 0.046062 |  |  |  |  | 0.012968 | [6 empty] | 0.087198 |  |  | 0.054136 | 0.14 |  |  |  |  | 0.00268 |  |  |  | 91.2755 |  |  | 85.7058 |  | 136.3527 |  | 64.0625 |  |  | 53.3619 |  |  | 148.2 |  | 24 | [6 empty] | 94.2795 |  |  | 25.2088 | 72.9167 |  |  |  |  | 1.34 |  |  |  | 15 |  |  | 5 |  | 3 |  | 1 |  |  | 2 |  |  | 1 |  | 1 | [6 empty] | 2 |  |  | 6 | 1 |  |  |  |  | 1 |  |  |  | 0.40861 |  |  | 0.16826 |  | 2 |  | 1.22 |  |  | 0.19949 |  |  | 0.26991 | [8 empty] | 0.086532 |  |  | 0.64305 | 2.4365 |  |  |  |  | 0
2.6222 | [35 empty] | 91.87 | [8 empty] | 91.87 | [15 empty] | 28.4243 | 54.625 | [8 empty] | 2 | [8 empty] | 2 | [15 empty] | 3 | 1 | [8 empty] | 0 | [8 empty] | 0 | [15 empty] | 0.95108 | 2.4561
2.6232 | 0.013338 | [6 empty] | 0.011326 | 0.0066739 | 0.020714 |  |  |  | 0.02515 |  | 0.0061553 | [7 empty] | 0.008667 |  | 0.10097 | [6 empty] | 0.13608 |  |  | 38.2539 |  |  | 73.5732 |  | 45.1261 |  | 10.5603 | 3.8375 | 26.7508 | 30.0181 |  |  | 12.575 |  | 3.0299 | [6 empty] | 4.52 | 10.7111 | 8.4417 | 32.6881 | 2.1771 |  |  | 3.69 |  | 7.8556 | 97.1717 | 10.9818 |  | 48 |  |  | 16 |  | 6 |  | 11 | 1 | 6 | 2 |  |  | 1 |  | 1 | [6 empty] | 1 | 1 | 2 | 15 | 2 |  |  | 1 |  | 1 | 2 | 1 |  | 0.3286 |  |  | 0.18727 |  | 0.12839 |  | 0.64536 | 1.4807 | 0.065515 | 0 |  |  | 0.0039761 |  | 0.6583 | [6 empty] | 0 | 0.25726 | 1.0569 | 0.47148 | 0.53571 |  |  | 0 |  | 0 | 0.97927 | 0.082781
2.7112 | 0.052894 |  |  |  |  | 0.020973 |  | 0.065211 | 0.072499 | [16 empty] | 0.10959 | [5 empty] | 0.00024465 | 0.32515 |  |  | 20.8866 |  |  | 9.3618 |  | 19.7727 |  | 53.3545 | 56.8455 | 38.1522 | 33.2162 |  |  |  |  | 10.7692 | [8 empty] | 3.8636 | 16.2262 | [5 empty] | 0.47059 | 43.3533 |  |  | 19 |  |  | 8 |  | 3 |  | 1 | 1 | 1 | 3 |  |  |  |  | 1 | [8 empty] | 1 | 3 | [5 empty] | 1 | 1 |  |  | 0.19754 |  |  | 0.20191 |  | 0.22061 |  | 0.47879 | 0.15832 | 0 | 0.13085 |  |  |  |  | 0.44643 | [8 empty] | 0 | 0.37665 | [5 empty] | 1 | 0.12994
2.7122 | 0.012323 |  |  | 0.010363 |  |  |  |  | 0.020169 | [6 empty] | 0.00054762 | [9 empty] | 0.0032494 | 0.0025614 | 0.00078645 |  |  | 0.00081193 | 0.0019317 |  |  |  | 11.6711 |  |  | 8.0582 |  | 15.5844 |  |  | 20.2507 | [6 empty] | 1.4375 | [9 empty] | 3.419 | 6.8633 | 1.0526 |  |  | 0.95062 | 1.7689 |  |  |  | 7 |  |  | 3 |  | 1 |  |  | 2 | [6 empty] | 1 | [9 empty] | 12 | 2 | 4 |  |  | 1 | 2 |  |  |  | 2.5337 |  |  | 2.7978 |  | 1.0958 |  |  | 0.86239 | [6 empty] | 6.5217 | [9 empty] | 1.1355 | 1.17 | 1.7637 |  |  | 0.57692 | 1.2481
2.7124 | 0.029111 |  |  | 0.035585 |  | 0.008645 |  | 0.013515 | 0.0051449 | 0.0083571 | 0.068367 | 0.00375 |  |  |  | 0.013449 | [6 empty] | 0.0026425 | 0.007609 | 0.090058 | 0.0089047 | 0.0018547 | 0.010688 |  |  | 0.00384 | 0.0061773 | 0.010441 |  |  | 33.5702 |  |  | 55.7222 |  | 7.9407 |  | 13.8774 | 5.3332 | 16.0917 | 39.3206 | 0.88235 |  |  |  | 20.3432 | [6 empty] | 5.0048 | 14.0488 | 79.487 | 34.3055 | 2.4707 | 90.0385 |  |  | 5.12 | 8.4607 | 24.5807 |  |  | 58 |  |  | 19 |  | 2 |  | 10 | 4 | 2 | 6 | 1 |  |  |  | 4 | [6 empty] | 2 | 4 | 4 | 17 | 1 | 5 |  |  | 1 | 6 | 2 |  |  | 0.2633 |  |  | 0.26198 |  | 0.028918 |  | 0.22008 | 0.35507 | 0 | 0.16841 | 0 |  |  |  | 0.19527 | [6 empty] | 1.589 | 0.12832 | 0.28224 | 0.15636 | 0.17973 | 0.13927 |  |  | 0.057034 | 0.061506 | 0.47302
2.7142 | 0.041679 |  | 0.00025 | 0.042184 | 0.024386 | 0.048507 | 0.13697 | 0.026404 | 0.031452 | 0.050218 | 0.031539 | 0.019587 | 0.049714 | 0.038681 | 0.013055 | 0.023241 | 0.025966 |  | 0.015843 | 0.18505 | 1.8494 | 0.003628 | 0.040765 | 0.021175 | 0.042553 | 0.029381 | 0.024087 | 0.015928 |  | 0.039092 | 0.010549 | 0.047055 | 0.01982 | 0.055959 | 0.023501 | 30.849 |  | 0.6 | 37.9875 | 121.1923 | 25.9075 | 42.375 | 25.8936 | 27.4983 | 43.222 | 22.5681 | 23.9945 | 33.3154 | 16.0747 | 13.2558 | 13.2663 | 23.4774 |  | 8.7351 | 135.7067 | 591.82 | 9.07 | 32.7776 | 35.4042 | 27.4775 | 27.0962 | 25.5653 | 21.264 |  | 38.2752 | 8.1217 | 25.6322 | 14.1293 | 32.1904 | 19.7912 | 474 |  | 1 | 98 | 1 | 43 | 1 | 88 | 35 | 23 | 14 | 13 | 2 | 12 | 4 | 21 | 14 |  | 1 | 1 | 1 | 1 | 28 | 24 | 48 | 278 | 51 | 40 |  | 7 | 21 | 31 | 30 | 12 | 11 | 2.4969 |  | 2.3148 | 2.0511 | 8.7 | 1.6081 | 1.0025 | 4.9422 | 1.7437 | 2.435 | 0.66369 | 1.5428 | 1.0652 | 1.6371 | 1.8107 | 1.6767 | 2.2664 |  | 1.718 |  | 1.2274 | 0.019936 | 2.0824 | 1.7961 | 2.2014 | 2.2176 | 1.7335 | 1.9453 |  | 0.67984 | 3.7896 | 1.9392 | 1.8931 | 4.9371 | 2.4946
2.7143 | 0.04046 |  | 0.00404 | 0.042182 |  | 0.0064133 |  | 0.020315 | 0.032503 | 0.13022 | 0.0024239 | 0.033279 | 0.01269 | 0.17984 | 0.012189 | 0.01626 | 0.016259 | 0.00504 |  |  |  |  | 0.071881 | 0.008716 | 0.061739 | 0.019223 | 0.03992 | 0.0042585 | 0.01408 |  | 0.051647 | 0.012009 | 0.019416 | 0.038597 | 0.0088242 | 25.8157 |  | 2.2444 | 30.7829 |  | 4.7796 |  | 20.1203 | 20.7184 | 22.5472 | 16.044 | 15.3661 | 9.6337 | 40.6588 | 9.2185 | 21.3961 | 33.5724 | 2.9647 |  |  |  |  | 28.988 | 41.5798 | 47.2674 | 20.4563 | 19.0357 | 7.9184 | 11.7333 |  | 52.0573 | 15.3398 | 25.3536 | 20.5782 | 8.7625 | 137 |  | 1 | 32 |  | 3 |  | 30 | 9 | 9 | 9 | 2 | 2 | 5 | 1 | 10 | 1 | 1 |  |  |  |  | 6 | 8 | 8 | 69 | 11 | 7 | 1 |  | 8 | 11 | 6 | 1 | 2 | 1.8731 |  | 3.9654 | 1.7609 |  | 1.206 |  | 2.3253 | 1.7921 | 1.671 | 0.51456 | 4.8826 | 2.8838 | 0.90638 | 0.21 | 2.8087 |  | 0.18231 |  |  |  |  | 1.0526 | 1.4898 | 2.068 | 1.9125 | 2.0543 | 2.6641 | 3.1663 |  | 2.7525 | 1.3551 | 2.1658 | 0.35 | 1.8553
2.7221 | 0.0028315 |  |  | 0.0021 |  |  |  |  | 0.003563 | [16 empty] | 0.034491 | 0.0017146 | 0.0058841 |  |  | 0.023569 | 0.082534 | 0.00075217 |  | 0.01692 | 14.7398 |  |  | 23.3713 |  |  |  |  | 1.85 | [15 empty] | 10.3667 | 20.1681 | 1.8602 | 5.28 |  |  | 32.0017 | 37.6404 | 10.6583 |  | 16.92 | 4 |  |  | 2 |  |  |  |  | 1 | [15 empty] | 1 | 16 | 1 | 1 |  |  | 2 | 4 | 3 |  | 1 | 0.67517 |  |  | 1.1574 |  |  |  |  | 0 | [15 empty] | 0.38585 | 0.0625 | 0 | 0.15152 |  |  | 0.0016312 | 0.055 | 0.059259
2.7261 | 0.056101 |  |  | 0.015605 | 0.086377 | 0.0077123 | 0.090384 | 0.042488 | 0.035915 | 0.057944 |  | 0.0083636 |  |  |  | 0.042201 | 0.053742 | [5 empty] | 0.35998 |  | 0.041438 | 0.025807 | 0.0096916 | 0.022764 | 0.05395 |  | 0.009979 | 0.043169 | 0.30671 | 0.041554 |  | 39.4412 |  |  | 8.6521 | 429.2692 | 11.8637 | 27.9625 | 55.9683 | 18.3516 | 50.3669 |  | 7.2461 |  |  | 7.9 | 38.2362 | 49.264 | [5 empty] | 35.9404 |  | 38.2786 | 30.9597 | 16.4973 | 18.0272 | 44.9583 | 37.495 | 11.7987 | 37.6211 | 118.5153 | 17.6242 | 19.2319 | 60 |  |  | 11 | 1 | 4 | 1 | 14 | 6 | 4 |  | 2 |  |  | 1 | 7 | 4 | [5 empty] | 3 |  | 2 | 54 | 8 | 11 | 1 | 1 | 7 | 3 | 4 | 2 | 1 | 0.707 |  |  | 1.1072 | 0.25087 | 0.77532 | 1.1453 | 0.5292 | 1.0165 | 0.60863 |  | 1.7877 |  |  | 0.4557 | 0.54246 | 0.35899 | [5 empty] | 0.32143 |  | 0.15952 | 0.59866 | 0.56046 | 0.60787 | 0.11121 | 0.54007 | 0.9793 | 0.18199 | 0.9336 | 0.21967 | 0.41447
2.7316 | [25 empty] | 0.026608 |  | 0.026608 | [32 empty] | 17.3667 | 14.6667 | 20.0667 | [32 empty] | 2 | 1 | 1 | [32 empty] | 0 | 0 | 0
2.7441 | 0.0065 | [22 empty] | 0.0065 | [11 empty] | 80.3078 |  |  |  |  | 297.7308 |  |  | 12.5 | [6 empty] | 1.07 | [7 empty] | 9.9306 | [11 empty] | 4 |  |  |  |  | 1 |  |  | 1 | [6 empty] | 1 | [7 empty] | 1 | [11 empty] | 0.38012 |  |  |  |  | 0.032296 |  |  | 0.23636 | [6 empty] | 1.028 | [7 empty] | 0.22378
2.7444 | 0.023485 | [6 empty] | 0.025828 |  |  |  |  | 0.0018 | [11 empty] | 0.033157 | 0.0032531 | 0.0057309 | 0.0020486 |  |  |  |  | 0.0026165 |  |  | 42.3321 |  |  |  |  | 13.2092 |  | 44.6757 | 72.4018 |  |  |  | 1.4625 |  |  | 7.7556 | [8 empty] | 63.3751 | 4.282 | 8.7585 | 1.7925 |  |  |  |  | 3.2884 |  |  | 8 |  |  |  |  | 1 |  | 1 | 2 |  |  |  | 1 |  |  | 1 | [8 empty] | 2 | 4 | 1 | 1 |  |  |  |  | 2 |  |  | 0.9746 |  |  |  |  | 0.2474 |  |  | 0.32142 |  |  |  | 0.59829 |  |  | 0.25126 | [8 empty] | 2.5412 | 1.2766 |  | 0.42857 |  |  |  |  | 1.7006
2.8111 | 0.20837 |  |  | 0.20837 | [21 empty] | 0.0075352 | 0.0087409 | 0.0063294 | [7 empty] | 520.9167 |  |  | 520.9167 | [21 empty] | 10.1875 | 9.615 | 10.76 | [7 empty] | 1 |  |  | 1 | [21 empty] | 2 | 1 | 1 | [7 empty] | 0 |  |  | 0 | [21 empty] | 0.22243 | 0.33333 | 0.11152
2.8121 | 0.038526 |  |  | 0.018305 |  | 0.0062858 | 0.085212 | 0.041648 | 0.037313 | [6 empty] | 0.029867 | 0.037232 | [6 empty] | 0.034945 | 0.043304 | 0.067039 | 0.094873 | 0.0029279 |  |  | 0.0798 |  | 0.042547 |  |  | 25.8818 |  |  | 17.015 |  | 3.0895 | 26.3625 | 39.1052 | 38.0641 | [6 empty] | 37.2076 | 15.0667 | [6 empty] | 53.3889 | 16.843 | 48.5161 | 99.61 | 1.5403 |  |  | 54.4091 |  | 41.9324 |  |  | 40 |  |  | 3 |  | 2 | 1 | 7 | 6 | [6 empty] | 3 | 1 | [6 empty] | 1 | 16 | 17 | 3 | 1 |  |  | 1 |  | 2 |  |  | 0.37372 |  |  | 0.66667 |  | 0 | 0 | 0.89336 | 0.23413 | [6 empty] | 0.004902 | 0 | [6 empty] | 0.065036 | 0.27644 | 0.052465 | 0.063755 | 0.08 |  |  | 0.010443 |  | 0
2.8123 | 0.050066 |  |  | 0.012452 |  |  | 0.02804 |  | 0.029528 | [15 empty] | 0.11923 | 0.016632 |  | 0.000925 |  |  | 0.013536 | 0.031715 | 0.003407 |  |  | 25.9899 |  |  | 40.725 |  |  | 8.675 |  | 36.6762 | [15 empty] | 9.2261 | 11.8633 |  | 0.81498 |  |  | 4.4476 | 23.8823 | 3.0667 |  |  | 7 |  |  | 2 |  |  | 1 |  | 2 | [15 empty] | 2 | 7 |  | 1 |  |  | 1 | 3 | 2 |  |  | 0 |  |  | 0 |  |  | 0 |  | 0 | [15 empty] | 0 | 0.016983 |  | 0 |  |  | 0 | 0.039628 | 0
3.1192 | 0.48558 |  |  | 1.5045 |  |  |  | 0.17269 | 0.057 | [6 empty] | 0.79597 | [6 empty] | 0.0034334 | 0.069463 |  | 0.1084 |  |  |  |  | 0.209 |  | 0.069262 |  |  | 429.3565 |  |  | 1440 |  |  |  | 300.3217 | 59.375 | [6 empty] | 418.1872 | [6 empty] | 218.4909 | 150.9333 |  | 101.3055 |  |  |  |  | 180.6916 |  | 91.3901 |  |  | 7 |  |  | 1 |  |  |  | 1 | 1 | [6 empty] | 2 | [6 empty] | 1 | 1 |  | 4 |  |  |  |  | 1 |  | 2 |  |  | 1.159 |  |  | 3.3285 |  |  |  | 0.06 | 0.45614 | [6 empty] | 1.6041 | [6 empty] | 0 | 1.06 |  | 0.059912 |  |  |  |  | 0.14293 |  | 0.048361
3.4154 | 0.045525 | [14 empty] | 6.0952e-05 | [6 empty] | 0.17379 | 0.041967 | 0.0059059 | 0.013551 | [5 empty] | 0.01296 |  |  |  | 42.2054 | [14 empty] | 0.064 | [6 empty] | 121.65 | 87.0748 | 1.119 | 21.015 | [5 empty] | 17.28 |  |  |  | 5 | [14 empty] | 1 | [6 empty] | 1 | 1 | 2 | 2 | [5 empty] | 1 |  |  |  | 1.8174 | [14 empty] | 8.75 | [6 empty] | 0.0082203 | 0 | 0.16447 | 0.069795 | [5 empty] | 0.03858
4.432 | 5.0196 |  |  |  |  | 7.5833 |  | 0.15692 | [15 empty] | 0.028846 | 9.7455 | 0.1875 |  |  |  |  | 0.1875 |  |  |  |  | 2373.2165 |  |  |  |  | 2584.4726 |  | 166.0465 | [15 empty] | 34.0909 | 6497 | 643.0871 |  |  |  |  | 127.8409 |  |  |  |  | 5 |  |  |  |  | 2 |  | 1 | [15 empty] | 1 | 1 | 2 |  |  |  |  | 1 |  |  |  |  | 0.75415 |  |  |  |  | 1.4861 |  | 0.15686 | [15 empty] | 0.28902 | 0.35273 | 2.1055 |  |  |  |  | 2.2167
4.611 | 0.14737 |  |  | 0.17748 |  | 0.0124 |  | 0.086429 | 0.068467 | 0.07 | 0.008715 | 0.15568 |  | 0.14723 |  |  | 0.01119 | [5 empty] | 0.001105 | 0.3565 |  | 0.024347 | 0.044652 |  |  |  | 0.018783 |  | 0.005 |  | 0.004 | 172.9093 |  |  | 113.4727 |  | 1.6757 |  | 173.22 | 125.5936 | 52.2388 | 5.5333 | 212.0804 |  | 75.1024 |  |  | 4.8652 | [5 empty] | 1.5786 | 466.9408 |  | 24.8033 | 43.5795 |  |  |  | 6.1714 |  | 7 |  | 10 | 20 |  |  | 2 |  | 1 |  | 2 | 3 | 1 | 1 | 2 |  | 2 |  |  | 1 | [5 empty] | 1 | 4 |  | 8 | 3 |  |  |  | 1 |  | 1 |  | 1 | 0.74367 |  |  | 0.23091 |  |  |  | 0.029155 | 0.28996 | 0.58275 |  | 0.07 |  | 3.0385 |  |  | 0.15959 | [5 empty] | 2.1176 | 0.014506 |  | 0.056425 | 0.069362 |  |  |  | 0.14331 |  | 0 |  | 0
4.625 | 0.059626 |  |  | 0.041667 |  | 0.077586 | [19 empty] | 0.25374 | [9 empty] | 35 |  |  | 25 |  | 45 | [19 empty] | 225.3529 | [9 empty] | 2 |  |  | 1 |  | 1 | [19 empty] | 2 | [9 empty] | 2.304 |  |  | 0.008 |  | 4.6 | [19 empty] | 0.05
4.711 | 0.4706 |  |  |  |  | 0.15744 |  |  | 1.0422 | [7 empty] | 0.34136 | [8 empty] | 0.38165 | 0.45455 | [5 empty] | 0.30876 |  |  | 239.4097 |  |  |  |  | 118.0833 |  |  | 300.16 | [7 empty] | 269.6978 | [8 empty] | 658 | 500 | [5 empty] | 816 |  |  | 4 |  |  |  |  | 1 |  |  | 1 | [7 empty] | 2 | [8 empty] | 2 | 1 | [5 empty] | 1 |  |  | 0.64879 |  |  |  |  | 1.7643 |  |  | 0.31423 | [7 empty] | 0.25833 | [8 empty] | 1.0105 | 2 | [5 empty] | 0.021008
4.821 | 0.033632 |  |  | 0.074658 |  | 0.21296 |  | 0.04586 | 0.0038733 |  |  | 0.0088333 |  |  |  | 0.0081002 | 0.0042961 | [5 empty] | 0.0036321 | 0.0044725 | 0.017445 | 0.0085477 | 0.0037131 | 0.0095962 |  |  |  | 0.00525 | 0.0084464 |  |  | 31.8994 |  |  | 76.4369 |  | 107.01 |  | 58.9133 | 2.905 |  |  | 5.3 |  |  |  | 2.8196 | 2.7616 | [5 empty] | 45.5852 | 2.1273 | 10.0072 | 9.5253 | 7.8571 | 13.2944 |  |  |  | 1.8 | 11.2902 |  |  | 16 |  |  | 2 |  | 1 |  | 2 | 1 |  |  | 1 |  |  |  | 2 | 2 | [5 empty] | 2 | 1 | 2 | 10 | 1 | 4 |  |  |  | 1 | 2 |  |  | 0.065244 |  |  | 0.0024415 |  | 0 |  | 0.038911 | 0 |  |  | 0 |  |  |  | 0.075414 | 0.40519 | [5 empty] | 0 | 0 | 0 | 0.023069 | 0.056818 | 0.043469 |  |  |  | 0 | 0
Grand Total | 0.086289 |  | 0.0049273 | 0.067916 | 0.033569 | 0.17513 | 0.091741 | 0.032517 | 0.04138 | 0.077777 | 0.094724 | 0.057631 | 0.02221 | 0.052623 | 0.01544 | 0.043143 | 0.033048 | 0.00511 | 0.025657 | 0.18505 | 1.8494 | 0.003628 | 0.20727 | 0.18055 | 0.093999 | 0.024925 | 0.023455 | 0.010527 | 0.02893 | 0.031439 | 0.02114 | 0.035588 | 0.035221 | 0.027823 | 0.038077 | 58.0277 | 107.2917 | 4.0162 | 70.4937 | 166.8269 | 63.7597 | 28.3825 | 36.4624 | 26.0922 | 36.6845 | 58.9311 | 67.7056 | 16.1152 | 32.2097 | 14.6329 | 25.6724 | 24.3427 | 3.0059 | 14.1459 | 135.7067 | 591.82 | 9.07 | 60.5976 | 150.7047 | 62.2019 | 23.4134 | 19.6219 | 15.2142 | 24.1083 | 39.6307 | 17.7205 | 19.5987 | 33.3864 | 16.2716 | 32.3104 | 2536 | 1 | 5 | 669 | 4 | 187 | 5 | 399 | 164 | 142 | 146 | 54 | 10 | 57 | 19 | 106 | 58 | 2 | 3 | 1 | 1 | 1 | 147 | 144 | 211 | 1168 | 247 | 155 | 3 | 23 | 97 | 128 | 118 | 32 | 45 | 1.4456 | 0.66912 | 1.7354 | 1.4248 | 2.3258 | 1.1679 | 0.4364 | 2.0132 | 0.91009 | 1.196 | 1.0641 | 1.2813 | 1.0096 | 1.3228 | 1.3173 | 1.5663 | 1.5141 | 0.25319 | 1.2702 |  | 1.2274 | 0.019936 | 1.3124 | 1.042 | 1.9042 | 1.4318 | 1.3458 | 1.3372 | 1.2757 | 0.47047 | 3.3777 | 1.1767 | 1.1618 | 2.191 | 1.2956